| Product information |  |
| --- | --- |
| Panel Thickness | 1.5mm-6mm |
| Aluminum skin Thickness(mm) | 0.08mm-0.5mm |
| Width(mm) | 1000mm,1220mm,1250mm,1500mm,2000mm(max) |
| Length(mm) | 1000mm-5800mm |
| weight | 5.5kg/sqm based on 4mm Thickness |
| Surface Coating | PE,PVDF,PET FILM,NANO,Mirror,Brush,Wooden,Marble |
| size | 1220*2440mm,1250*2500mm,1220*2800mm,1250*3200mm Or as clients requirement |
| standard | According to GB/T 17748-1999 standard |
| More Services | OEM,free Sample,Color Matching |

Product display

- Protective film with MINDA/OME brand or as your request

- Front side: aluminum roll coated with PE/PVDF

- Macro molecular lamination film

- Core: Non-toxic polyethylene.

- Macro molecular lamination film.

- Rear side: Aluminum coated with primer or as requested.